## Belfast
PPM Planner: Tetra Tech - Belfast- Unit 1 Locksley Business Park
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C Indoor Units (38 no) & Outdoor Units (8 no.) | bar: May 19; Nov 45
Large Supply fans | bar: Jan 1; Mar 13; Jun 25; Sep 37
Ventilation Control Panel | bar: Sep 37
Water Heaters (inc Zip) - 8 no. | bar: May 19
Zip Aquapoint - 2 no. | bar: Oct 40
Expansion vessels | bar: May 19; Nov 45
Expansion vessel purge | bar: May 19
Disabled toilet alarm | bar: Jan 1; Feb 6; Mar 10; Apr 14; May 19; Jun 23; Jul 27; Aug 31; Sep 36; Oct 40; Nov 45; Dec 49; Dec 52
Internal & External Lighting Checks | bar: Jan 1; Feb 6; Mar 10; Apr 14; May 19; Jun 23; Jul 27; Aug 31; Sep 36; Oct 40; Nov 45; Dec 49; Dec 52
Distribution board (OOH) | bar: Oct 40
LV Switchgear (OOH) | bar: Oct 40
RCDs | bar: Apr 14; Oct 40
Thermographics | bar: Oct 40
Surge protection | bar: Oct 40
Wall heaters | bar: Oct 40
EM Lighting - all (11 monthly IH & 1 annual OOH) | bar: Jan 1; Feb 6; Mar 10; Apr 14; May 19; Jun 23; Jul 27; Aug 31; Sep 36; Oct 40; Nov 45; Dec 49; Dec 52
WC Extract fans | bar: Apr 14; Oct 40
Fire Extinguishers(26) Blanket (1) | bar: May 19
Microwave leak detection | bar: Sep 36
Tap Temps inc shower | bar: Jan 1; Feb 6; Mar 10; Apr 14; May 19; Jun 23; Jul 27; Aug 31; Sep 36; Oct 40; Nov 45; Dec 49; Dec 52
TMT - Disabled Toilet | bar: Mar 13
Tap Descale - all outlets inc shower and hose | bar: Jan 1; Mar 13; Jun 25; Sep 37
PAT testing | bar: Sep 37
Roller Shutter | bar: Apr 18; Oct 40
Small Power Check (OOH) - all | bar: Oct 40
Water Sampling - 3 TVC ( cold - 3 kitchens ) , 3 LP hot ( 3 kitchens) | bar: Mar 11; Sep 37
Shower - Instant electric Redring | bar: Jan 1; Mar 13; Jun 25; Sep 37
Fire Doors | bar: Jan 1; Feb 6; Mar 10; Apr 14; May 19; Jun 23; Jul 27; Aug 31; Sep 36; Oct 40; Nov 45; Dec 49; Dec 52
Sanitary Ware | bar: Mar 11; Sep 37
Dishwasher | bar: Sep 37
Sinks | bar: Mar 11; Sep 37; Dec 52
Lifts (Otis - 3 yr Contract from Mar 2025) | bar: Jan 1; Mar 13; Jul 27; Oct 40
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Bristol
PPM Planner: Tetra Tech - Bristol, Fifth Floor, One Temple Quay, Temple Back East
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Portable Appliance Testing | bar: Oct 41
Fire Extinguishers | bar: May 19
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Cardiff Store Pontypridd
PPM Planner: Tetra Tech - Pontypridd - Gelli-Hirion Industrial Estate Unit J7
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Distribution Board Inc RCDs | bar: Sep 39
Domestic Water Sampling x2 LP from HWS, x1 TVC | bar: Feb 9; Aug 35
Emergency Lighting | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
External Lighting (Visual Check) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Fire Extinguishers | bar: Jun 26
Gas Safety Inspection | bar: Aug 31
Internal Lighting (Visual Check) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Key Press Code Change (email codes to FacilitiesHelpDeskUK@tetratech.com) | bar: Jan 5; Apr 17; Jul 30; Oct 44
Microwave Leak Detection | bar: Aug 31
Monthly Meter Readings | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Monthly Tap Temperatures | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
PAT (100 Items) | bar: Oct 44
POU Water Heaters x2 | bar: Sep 39
RCDs x7/RCBOs x1 | bar: Mar 13; Sep 39
Roller Shutter | bar: May 22; Nov 48
Small Power | bar: Mar 13
Tap Descale | bar: Jan 5; Apr 17; Aug 31; Oct 44
Thermographics | bar: Sep 39
Fire Doors | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Sanitary Ware | bar: Feb 9; Aug 35
Sinks | bar: Apr 17; Oct 44
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Cardiff HH
PPM Planner: Tetra Tech - Cardiff - Hodge House
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C System (1x Indoor Unit) |  |  | Comms room | bar: Apr 17; Oct 44
A/C System (1x Outdoor Unit) |  |  | Comms room | Jan 5: Q; Apr 17: H; Jul 30: Q; Oct 44: A
Dishwashers | bar: Apr 17
Distribution Boards OOH | bar: Nov 48
Emergency Lighting (Annual OOH) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Expansion Vessel Drain Purge (Please ensure vessel is purged, and comment on condition of water, ideally upload photo) | bar: Apr 17; Oct 44
Expansion Vessels | bar: Apr 17; Oct 44
Fire Doors (2x double doors, 1x single) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Fire Extinguishers | bar: May 22
Internal Lighting Checks | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Isolation Valves | bar: Oct 44
Leak Detection | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Meter Readings (Electric & Water) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Microwaves | bar: May 22
PAT Testing | bar: May 22
POU Water Heaters (Anodes to be quoted) | bar: Apr 17
Pressure Reducing Valves |  |  |  | Jan 5: Q; Apr 17: H; Aug 31: Q; Oct 44: A
Pressure Relief Valves | bar: Oct 44
RCDs/RCBOs OOH | bar: May 22; Nov 48
Sliding Door |  |  | Barfundle room | bar: May 22; Nov 48
Small Power OOH | bar: Nov 48
Solenoids | bar: Sep 39
Surge Protection | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Tap Descaling | bar: Mar 13; Jun 26; Sep 39; Dec 52
Tap Temperatures | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Thermographics | bar: May 22
TMVs | bar: Oct 44
Waste Water Pump OOH |  |  |  | Mar 13: A; Jun 26: Q; Sep 39: H; Dec 52: Q
Water Sampling - Kitchen, Prep Kitchen, Cleaners & Wellbeing 1 x Hot LP and 1 x Cold TVC on each | bar: Apr 17; Oct 44
Sinks | bar: Jun 26; Dec 52
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Chorley
PPM Planner: Tetra Tech - Chorley - Building N2 Chorley Business and Technology Centre
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Portable Appliance Testing | bar: Jan 5
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Cockermouth
PPM Planner: Tetra Tech - Cumbria Cockermouth - Suite 6A and 6B (Gnd, 1st Floor) Lakeland BP
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C System 1 (1 x Outdoor at 4vpa/ 1 x Indoor at 2vpa) |  |  | Rear of Building/ Server Room | Feb 9: Q; May 22: A; Aug 35: Q; Nov 48: H
A/C System 2 (1 x Outdoor at 4vpa/ 10 x Indoor at 2vpa) |  |  | Rear of Building/ 1st Floor Store | Feb 9: Q; May 22: A; Aug 35: Q; Nov 48: H
A/C System 3 (1 x Outdoor at 4vpa/ 1 x Indoor at 2vpa) |  |  | Rear of building/ 1st Floor Store | Feb 9: Q; May 22: A; Aug 35: Q; Nov 48: H
A/C System 4 (1 x Outdoor at 4vpa/ 3 x Indoor at 2vpa) |  |  | Rear of Building / 1st Floor Main Office | Feb 9: Q; May 22: A; Aug 35: Q; Nov 48: H
A/C System 5 (1 x Outdoor at 4vpa/ 1 x Indoor at 2vpa) |  |  | Rear of Building / 2nd Floor Main Office | Feb 9: Q; May 22: A; Aug 35: Q; Nov 48: H
A/C Timer/Programmer Check | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48
Disabled Toilet Alarm |  |  | Disabled Toilet | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Distribution Board OOH |  |  | Ground floor - reception lobby area / ground floor main switch room | bar: Sep 39
Electric Convector Heaters |  |  | Throughout | bar: Sep 39
Emergency Lighting (Annual In Hrs) |  |  | Throughout | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Expansion Vessel Drain Purge (Please ensure vessel is purged, and comment on condition of water, ideally upload photo) | bar: Jun 26; Dec 52
Expansion Vessels (Please ensure vessel is purged, and comment on condition of water, ideally upload photo) | bar: Jun 26; Dec 52
Extract Fans |  |  | Toilets and Kitchens | bar: Jun 26; Dec 52
Fire Extinguishers & Blankets |  |  | Throughout | bar: Aug 31
Grilles and Diffusers |  |  | Throughout | bar: Apr 17; Oct 44
Microwave Leakage Test |  |  | Ground & first floor kitchens | bar: Jun 26
Monthly Meter Readings | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Monthly Tap Temperatures |  |  | Throughout | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Monthy Internal & External Lighting Checks |  |  | Throughout | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Portable Appliance Testing | bar: Oct 44
POU Water Heaters | bar: Feb 9
RCBOs x6 OOH | bar: Mar 13; Sep 39
Shower - Electric |  |  | Shower room | bar: Jan 5; Apr 17; Aug 31; Oct 44
Small Power OOH (120 Outlets) |  |  | Throughout | bar: Sep 39
Surge Protection - Indicator Light Check x2 (Include Photo) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Tap Descale - Clean and Disinfect Strainers/Outlets | bar: Feb 9; May 22; Aug 35; Nov 48
Thermographics | bar: Oct 44
Water Treatment - 2x LP (hot - kitchens x2 ) 4x DW (cold - kitchens x2, shower, gf gents whb) |  |  | Throughout | bar: Jan 5; Aug 31
Heating Timeclock (Electric Convector Panel Heaters) | bar: Mar 13; Oct 40
Fire Doors | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Oct 40; Oct 44; Nov 48; Dec 52
Sanitary Ware | bar: Jun 26; Dec 52
Sinks | bar: Feb 9; Aug 35
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Croydon Store
PPM Planner: Tetra Tech - Croydon - Unit 36 Store Capital Enterprise Centre
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Domestic Water Sampling 2x TVC & 2X LP Toilet Taps | bar: Feb 9; Aug 35
Portable Appliance Testing | bar: Jan 5
Small Power (In Hours) | bar: Feb 9
Fire Extinguishers | bar: Jan 1
Tap Descale | bar: Jan 5; Apr 17; Aug 31; Oct 44
Sanitary Ware | bar: Feb 9; Aug 31
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Edinburgh
PPM Planner: Tetra Tech - Edinburgh - 139 Fountainbridge, Part 3rd Floor Quay 2
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C Indoor Units x2 - | bar: Mar 13; Sep 39
A/C Outdoor Units x2 |  |  |  | Mar 13: Q; Jun 26: H; Sep 39: Q; Dec 52: A
Distribution Boards inc RCDs (OOH) | bar: Apr 17
Domestic Water Sampling | bar: May 22; Nov 48
Emergency Lighting (Annual OOH) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Expansion Vessel | bar: Jan 5; Aug 31
Fire Doors x2 - Visual Check | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Fire Extinguishers x7 inc 1 Fire Blanket | bar: Aug 35
Internal Lighting Checks | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Kitchen Extract Fan | bar: Feb 9; May 22; Aug 35; Nov 48
Kitchen Macerator (OOH) | bar: Feb 9; May 22; Aug 35; Nov 48
Microwave Leak Test x2 | bar: Jan 5
Monthly Leak Detection Visual Check | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Monthly Tap Temperatures | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
PAT (1000 Items) (Subcontractor) | bar: Jan 5
POU Water Heater | bar: Aug 31
Pressure Reducing Valve | bar: Feb 9; May 22; Aug 35; Nov 48
RCD/RCBO Checks - (OOH) | bar: Apr 17; Oct 44
Small Power - Desk & Floor Sockets (OOH) | bar: Apr 17
Tap Descaling | bar: Feb 9; May 22; Aug 35; Nov 48
Thermographics | bar: Aug 31
Dishwasher | bar: Jan 5
Sinks | bar: May 22; Nov 48
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Leeds AC
PPM Planner: Tetra Tech - Leeds - Unit 3 Angel Court
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C Split System 1 SN J046449/ J046449 (1x Indoor at 2vpa/1x Outdoor at 4vpa) - |  |  |  | Feb 9: Q; May 22: H; Aug 35: Q; Nov 48: A
A/C Split System 3 OOH (1x Indoor at 2vpa/1x Outdoor at 4vpa) - |  |  | Server Room | Feb 9: Q; May 22: H; Aug 35: Q; Nov 48: A
A/C System 2 SN J046406/ J000579 (1x Indoor at 2vpa/1x Outdoor at 4vpa) |  |  |  | Feb 9: Q; May 22: H; Aug 35: Q; Nov 48: A
Baxi 830 Combi 2 With MagnaCleanMicro2 Filter | bar: May 22; Nov 48
Digi Locks 3 Monthly Code Change (email codes to FacilitiesHelpDeskUK@tetratech.com) | bar: Jan 5; Apr 17; Aug 31; Oct 44
Distribution Board (OOH) | bar: Nov 48
Emergency Lighting (Annual OOH) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Fire Alarm | bar: May 22; Nov 48
Fire Extinguishers | bar: Dec 50
Flue | bar: Nov 48
Gas Pipework | bar: Nov 48
Keybox Code Change 4 no. (email codes to FacilitiesHelpDeskUK@tetratech.com) | bar: Oct 44
Microwave x2 (Leak Detection) | bar: Jan 5
Monthly General Lighting | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Monthly Meter Readings (Gas, Electric & Water) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Monthly Tap Temps | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Portable Appliance Testing | bar: Jan 5
Pressure Reducing Valve |  |  |  | Feb 9: Q; May 22: H; Aug 35: Q; Nov 48: A
RCBOs x15 OOH | bar: May 22; Nov 48
Roller Shutters (Including Access Equipment) |  |  | Throughout | bar: Jan 5; Aug 31
Sectional Overhead Door (Including Access Equipment) |  |  | Warehouse | bar: Jan 5; Aug 31
Shower | bar: Jan 5; Apr 17; Aug 31; Oct 44
Small Power | bar: Nov 48
Surge Protection - Indicator Light Check (Include Photo) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Tap Descale - Clean and Disinfect Strainers/Outlets | bar: Feb 9; May 22; Aug 35; Nov 48
Thermographics | bar: May 22
TMT | bar: Apr 17; Oct 44
TRVs x14 | bar: Oct 44
Water Sampling - 3x LP (Hot - FF gents whb, lab, kitchen) 5x DW (cold- FF gents whb, shower ,lab, kitchen, warehouse) | bar: May 22; Nov 48
WC Extract Fans | bar: Feb 9; Aug 35
WC Extract Vent Grilles | bar: Feb 9; Aug 35
Fire Doors | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Sanitary Ware | bar: Feb 9
Dishwasher | bar: Feb 9
Sinks | bar: Feb 9; Oct 44
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Leeds 3SS
PPM Planner: Tetra Tech - Leeds - 3 Sovereign Square
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C System 1 (1x Indoor at 2vpa/1x Outdoor at 4vpa |  |  |  | Feb 9: Q; May 22: H; Aug 35: Q; Nov 48: A
Digi Locks 3 Monthly Code Change (email codes to FacilitiesHelpDeskUK@tetratech.com) | bar: Jan 5; Apr 17; Aug 31; Oct 44
Distribution Boards | bar: Nov 47
Emergency Lighting (Annual OOH) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Expansion Vessel (Please ensure vessel is purged, and comment on condition of water, ideally upload photo) | bar: May 22; Nov 48
Expansion Vessel Draindown (Please ensure vessel is purged, and comment on condition of water, ideally upload photo)- 6 () | bar: May 22; Nov 48
Extract Fans | bar: Jun 26; Dec 52
Fire Extinguishers (Subcontractor) | bar: Feb 9
Folding Wall (Subcontractor) | bar: Jun 26; Dec 52
Inline Instant Water Heater | bar: Jun 26; Nov 48
Internal Lighting | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Microwave (Leak Detection) X4 | bar: Mar 13
Monthly Tap Temps | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Portable Appliance Testing (Subcontractor) | bar: Jan 5
Pressure Reducing Valves |  |  |  | Feb 9: Q; May 22: H; Aug 35: Q; Nov 48: A
RCD & RCBOs | bar: May 22; Nov 48
Sani Pump OOH | bar: Mar 13; Jun 26; Sep 39; Dec 51
Showers | bar: Mar 13; Jun 26; Sep 39; Dec 51
Small Power | bar: Sep 39
Surge Protection - Indicator Check x3 (Include Photo) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Tap Descale - Clean and Disinfect Strainers/Outlets | bar: Feb 9; May 22; Aug 35; Nov 48
Thermographics (x3 DBs) (Electrical Team) | bar: Mar 13
TMV's | bar: Dec 51
Wall Heater | bar: Jan 5
Water Heaters - Zip Aquapoint | bar: Jun 26; Dec 52
Water Sampling |  |  | 3x LP (hot - x1no-4th Floor disabled kitchen sink, x1- 4th floor shower sentinel whb, x 1no 5th Floor tea station 8x DW (cold - 4th floor kitchens x 3, x1 4th floor sentinel shower whb, x 1 4th floor sentinel shower, x 3 5th floor kitchens | bar: Jun 26; Dec 52
Zip Hydroboil - Serial Number 2019030806007 |  |  | 5th Floor Kitchen | bar: Mar 13; Sep 39
Fire Doors | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Sanitary Ware | bar: Mar 13
Dishwasher | bar: Mar 13
Sinks | bar: May 22; Nov 48
Glazed Door Maintenance | bar: Mar 13
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Leicester
PPM Planner: Tetra Tech - Leicester - 4th Floor No 1 Great Central Square
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C System No1 - 1x Outdoor Unit - Hitachi Systems Only |  |  | Meeting rooms 1,2,3 & 4 | Mar 13: Q; Jun 26: A; Sep 39: Q; Dec 51: H
A/C System No1 - 4x Indoor Units - Hitachi Systems Only | bar: Mar 13; Sep 39
A/C System No2 - 1x Indoor Unit - Hitachi Systems Only | bar: Mar 13; Sep 39
A/C System No2 - 1x Outdoor Unit - Hitachi Systems Only |  |  | Post/Printer room | Mar 13: Q; Jun 26: A; Sep 39: Q; Dec 51: H
A/C System No3 - 1x Indoor Unit - Hitachi Systems Only | bar: Mar 13; Sep 39
A/C System No3 - 1x Outdoor Unit - Hitachi Systems Only |  |  | Roof & Comms Room | Mar 13: Q; Jun 26: A; Sep 39: Q; Dec 51: H
Condensate Pump Inc Indoor |  |  | Comms Room Riser | bar: Jan 5; Apr 17; Aug 31; Oct 44
Distribution Boards |  |  | Office Risers | bar: Jun 26
Distribution Boards Thermal Imaging |  |  | Office Risers | bar: Jun 26
Domestic Water Sampling - 4x tvc (shower, kitchen, prep, wellbeing) 3x lp (kitchen, prep, wellbeing) | bar: Jun 26; Dec 51
Electric Shower Inc Hose & Head Descaling | bar: Jan 5; Apr 17; Aug 31; Oct 44
Electric Wall Heater | bar: Jun 26
Emergency Lighting (Annual by Electrical Team OOH) |  |  | Throughout Tenants Area Only | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Expansion Vessels (Please ensure vessel is purged, and comment on condition of water, ideally upload photo) |  |  | Kitchen Areas | bar: Jun 26; Dec 51
Extract Fan |  |  | above drying room from shower | bar: Jan 5; Jul 30
Fire Extinguishers Inc Fire Blanket | bar: Oct 44
General Lighting | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Industrial Sliding/Folding Door |  |  | Office | bar: Mar 13; Sep 39
Instantaneous Illimi Tap (Subcontractor) |  |  | Rear Kitchen | bar: Aug 31
Instantaneous Wall Hung Boiler (Subcontractor) |  |  | Kitchen Area | bar: Aug 31
Microwave Leak Test | bar: Aug 31
Monthly Meter Readings | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Monthly Tap Temperatures | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Portable Appliance Testing | bar: Sep 39
POU Water Heaters (including Tundishes) |  |  | Hyco | bar: Sep 39
Pressure Relief Valves | bar: Sep 39
Pressure Reducing Valves | bar: Mar 13; Jun 26; Sep 39; Dec 51
RCDs x76/RCBOs x14 OOH | bar: Jun 26
Small Power OOH | bar: Jun 26
Surge Protection - Indicator Light Check (Include Photo) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Tap Descale | bar: Jan 5; Apr 17; Aug 31; Oct 44
Thermographics
Fire Doors | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Dishwasher | bar: Apr 17
Sinks | bar: Apr 17; Oct 44
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Liverpool
PPM Planner: Tetra Tech - Liverpool - 6th Floor Horton House
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Fire Extinguishers | bar: Apr 17
Microwave Leakage Test | bar: Nov 48
Monthly Tap Temperatures | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 51
Portable Appliance Testing | bar: Nov 48
Tap Descale - Clean & Disinfect Strainers/Outlets | bar: Feb 9; May 22; Aug 35; Nov 48
Water Sampling - 1x LP (Hot - kitchen) 1 x DW (cold - kitchen) | bar: Apr 17; Oct 44
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## London AC
PPM Planner: Tetra Tech - London - Angel Court
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
A/C System (1x Outdoor at 4vpa / 2x Indoor at 2vpa) |  |  | Roof plant deck area / Comms Room | Feb 9: Q; May 22: H; Aug 35: Q; Nov 48: A
Distribution Board OOH | bar: Sep 39
Expansion Vessel (Please ensure vessel is purged, and comment on condition of water, ideally upload photo) | bar: Jan 5; Aug 31
Expansion Vessel Drain Purge (Please ensure vessel is purged, and comment on condition of water, ideally upload photo) | bar: Jan 5; Aug 31
Extract Fans |  |  | Kitchen & Tea Point | bar: Jun 26; Dec 52
Fire Extinguishers | bar: Feb 9
Folding Wall (Subcontractor) | bar: May 22; Nov 48
Leak Detection Solenoid | bar: Nov 48
Leak Detection Unit | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Microwave (Leak Detection) | bar: Jan 5
Monthly Tap Temps | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Panel Heater | bar: Jan 5
Portable Appliance Testing | bar: Jan 5
POU Water Heaters | bar: Jan 5
RCBOs x23 OOH | bar: Mar 13; Sep 39
Small Power (OOH) | bar: Sep 39
Surge Protection - Indicator Light Check (Include Photo) | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 22; Jun 26; Aug 31; Aug 35; Sep 39; Oct 44; Nov 48; Dec 52
Tap Descale - Clean and Disinfect Strainers/Outlets | bar: Feb 9; May 22; Aug 35; Nov 48
Thermographics | bar: Jan 5
Waste Water Pumps | bar: Feb 9; May 22; Aug 35; Nov 48
Water Sampling - 2x LP (hot - kitchen & prep room) 2x DW (cold - kitchen and prep room) | bar: Feb 9; Aug 35
Fire Doors | bar: Jan 5; Feb 9; Mar 13; Apr 17; May 21; Jun 26; Aug 31; Aug 35; Sep 39; Oct 43; Nov 47; Dec 51
Dishwasher | bar: Feb 9
Sinks | bar: May 22; Nov 48
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Manchester
PPM Planner: Tetra Tech - York Street, Manchester
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Portable Appliance Testing | bar: Feb 6
Fire Extinguishers | bar: Apr 14
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Southampton
PPM Planner: Tetra Tech - International House, Southampton
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Portable Appliance Testing | bar: Jun 23
Fire Extinguishers | bar: Apr 14
Microwave Leak Detection | bar: Apr 14
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc

## Wexford
PPM Planner: Tetra Tech - Wexford - Unit 2, IT Centre, Knockmullen, Gorey
Asset | Asset ID | Asset Number | Location | Jan |  |  |  |  | Feb |  |  |  | Mar |  |  |  | Apr |  |  |  |  | May |  |  |  | Jun |  |  |  | Jul |  |  |  | Aug |  |  |  |  | Sep |  |  |  | Oct |  |  |  |  | Nov |  |  |  | Dec
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Portable Appliance Testing | bar: Mar 11
Frequencies:
W) Weekly
F) Fortnightly
M) Monthly
B) Bi-Monthly
Q) Quarterly
T) Tri-Annually
H) Half-Yearly
A) Annually
D) AdHoc